## Tabelle1
PARK test(sort test) to wait test results. - Add PARK test when order is received from LIS. - CTS check if all other tests' status in UPLOADED status, then omit PARK test. | Zhang Xue Dong
Auto Rerun with or without dilution - Generize workflow. - Auto dilution with button (select test and then select dilution factor, scan barcode) - Separate workflow into several site functions. | Liu Heng Jun
ThCG Priority sort. - Will be better if there is RIM on the left of IOM. - Tubes route to IOM before/after other tests sampled. | Li Zhao
Auto Avalidation. - Normal Range Severity. - Delta Severity. - Instrument Severity.[*] - Logical Severity. [Kunming No.1] | Xie Zhong Xin
U08/U09/X01/X02 - Add to Basic Database. | Wang Chun Lei